## Plan1
Variáveis do Sistema de Aquisição do Anel
Barra
Modelo | 1-4 | 1-9 | 1-38 | 0-4095 | 1-8 | Barras
Representação | Torre | Barra | Leitura | Valor | 9 | Potências de saída e entrada
Leitura
| Barra | Aquisição |  |  | 1-34 | Correntes
A | 1 | 1 |  |  | 35-38 | Potências Superior e inferior
| 2 | 2
| 3 | 3
| 4 | 4
| 5 | 5
| 6 | 6
| 7 | 7
| 8 | 8
B | 1 | 9
| 2 | 10
| 3 | 11
| 4 | 12
| 5 | 13
| 6 | 14
| 7 | 15
| 8 | 16
| Pré | 17

## Rack1
Tower | HeatSink | Reading | Valor | SEC | SUB | DIS | DEV | IDX | PROP | Device Name | Indicative | Module
1 | 0 | 01 | 000X | RA | ToSIA01 | RF | SSAmpTower | - | PwrDCR1-Mon | RA-ToSIA01:RF-SSAmpTower:PwrDCR1-Mon | Status Conversor AC-DC | -
1 | 1 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM01:Current1-Mon | Corrente 1 | 1A | 1
1 | 1 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM01:Current2-Mon | Corrente 2
1 | 1 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM02:Current1-Mon | Corrente 3 | 2A | 2
1 | 1 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM02:Current2-Mon | Corrente 4
1 | 1 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM03:Current1-Mon | Corrente 5 | 3A | 3
1 | 1 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM03:Current2-Mon | Corrente 6
1 | 1 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM04:Current1-Mon | Corrente 7 | 4A | 4
1 | 1 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM04:Current2-Mon | Corrente 8
1 | 1 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM05:Current1-Mon | Corrente 9 | 5A | 5
1 | 1 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM05:Current2-Mon | Corrente 10
1 | 1 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM06:Current1-Mon | Corrente 11 | 6A | 6
1 | 1 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM06:Current2-Mon | Corrente 12
1 | 1 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM07:Current1-Mon | Corrente 13 | 7A | 7
1 | 1 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM07:Current2-Mon | Corrente 14
1 | 1 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01AM08:Current1-Mon | Corrente 15 | 8A | 8
1 | 1 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H01AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01AM08:Current2-Mon | Corrente 16
1 | 1 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM01:Current1-Mon | Corrente 17 | 1B | 9
1 | 1 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM01:Current2-Mon | Corrente 18
1 | 1 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM02:Current1-Mon | Corrente 19 | 2B | 10
1 | 1 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM02:Current2-Mon | Corrente 20
1 | 1 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM03:Current1-Mon | Corrente 21 | 3B | 11
1 | 1 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM03:Current2-Mon | Corrente 22
1 | 1 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM04:Current1-Mon | Corrente 23 | 4B | 12
1 | 1 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM04:Current2-Mon | Corrente 24
1 | 1 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM05:Current1-Mon | Corrente 25 | 5B | 13
1 | 1 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM05:Current2-Mon | Corrente 26
1 | 1 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM06:Current1-Mon | Corrente 27 | 6B | 14
1 | 1 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM06:Current2-Mon | Corrente 28
1 | 1 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM07:Current1-Mon | Corrente 29 | 7B | 15
1 | 1 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM07:Current2-Mon | Corrente 30
1 | 1 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01BM08:Current1-Mon | Corrente 31 | 8B | 16
1 | 1 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H01BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01BM08:Current2-Mon | Corrente 32
1 | 1 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H01PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H01PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 1 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H01PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H01PreAmp:Current2-Mon | Corrente 34
1 | 1 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H01 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H01:PwrFwdTop-Mon | Potência | Revl
1 | 1 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H01 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H01:PwrRevTop-Mon | Potência | Inc
1 | 1 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H01 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H01:PwrFwdBot-Mon | Potência | Revl
1 | 1 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H01 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H01:PwrRevBot-Mon | Potência | Inc
1 | 2 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM01:Current1-Mon | Corrente 1 | 1A
1 | 2 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM01:Current2-Mon | Corrente 2
1 | 2 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM02:Current1-Mon | Corrente 3 | 2A
1 | 2 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM02:Current2-Mon | Corrente 4
1 | 2 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM03:Current1-Mon | Corrente 5 | 3A
1 | 2 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM03:Current2-Mon | Corrente 6
1 | 2 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM04:Current1-Mon | Corrente 7 | 4A
1 | 2 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM04:Current2-Mon | Corrente 8
1 | 2 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM05:Current1-Mon | Corrente 9 | 5A
1 | 2 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM05:Current2-Mon | Corrente 10
1 | 2 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM06:Current1-Mon | Corrente 11 | 6A
1 | 2 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM06:Current2-Mon | Corrente 12
1 | 2 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM07:Current1-Mon | Corrente 13 | 7A
1 | 2 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM07:Current2-Mon | Corrente 14
1 | 2 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02AM08:Current1-Mon | Corrente 15 | 8A
1 | 2 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H02AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02AM08:Current2-Mon | Corrente 16
1 | 2 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM01:Current1-Mon | Corrente 17 | 1B
1 | 2 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM01:Current2-Mon | Corrente 18
1 | 2 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM02:Current1-Mon | Corrente 19 | 2B
1 | 2 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM02:Current2-Mon | Corrente 20
1 | 2 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM03:Current1-Mon | Corrente 21 | 3B
1 | 2 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM03:Current2-Mon | Corrente 22
1 | 2 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM04:Current1-Mon | Corrente 23 | 4B
1 | 2 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM04:Current2-Mon | Corrente 24
1 | 2 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM05:Current1-Mon | Corrente 25 | 5B
1 | 2 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM05:Current2-Mon | Corrente 26
1 | 2 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM06:Current1-Mon | Corrente 27 | 6B
1 | 2 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM06:Current2-Mon | Corrente 28
1 | 2 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM07:Current1-Mon | Corrente 29 | 7B
1 | 2 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM07:Current2-Mon | Corrente 30
1 | 2 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02BM08:Current1-Mon | Corrente 31 | 8B
1 | 2 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H02BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02BM08:Current2-Mon | Corrente 32
1 | 2 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H02PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H02PreAmp:Current1-Mon | Corrente 33 | Pré | Pré do pré
1 | 2 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H02PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H02PreAmp:Current2-Mon | Corrente 34
1 | 2 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H02 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H02:PwrFwdTop-Mon | Potência | Revl
1 | 2 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H02 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H02:PwrRevTop-Mon | Potência | Inc
1 | 2 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H02 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H02:PwrFwdBot-Mon | Potência | Revl
1 | 2 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H02 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H02:PwrRevBot-Mon | Potência | Inc
1 | 9 | 01 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdIn1-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdIn1-Mon | Potência Geral | Inc in
1 | 9 | 02 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevIn1-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevIn1-Mon | Potência Geral | Revl in
1 | 9 | 03 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdOut1-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdOut1-Mon | Potência Geral | Inc out
1 | 9 | 04 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevOut1-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevOut1-Mon | Potência Geral | Revl out

## Rack2
Tower | HeatSink | Reading | Valor | SEC | SUB | DIS | DEV | IDX | PROP | Device Name | Indicative | Module
1 | 0 | 02 | 000X | RA | ToSIA01 | RF | SSAmpTower | - | PwrDCR2-Mon | RA-ToSIA01:RF-SSAmpTower:PwrDCR2-Mon | Status Conversor AC-DC | -
1 | 3 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM01:Current1-Mon | Corrente 1 | 1A | 1
1 | 3 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM01:Current2-Mon | Corrente 2
1 | 3 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM02:Current1-Mon | Corrente 3 | 2A | 2
1 | 3 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM02:Current2-Mon | Corrente 4
1 | 3 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM03:Current1-Mon | Corrente 5 | 3A | 3
1 | 3 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM03:Current2-Mon | Corrente 6
1 | 3 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM04:Current1-Mon | Corrente 7 | 4A | 4
1 | 3 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM04:Current2-Mon | Corrente 8
1 | 3 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM05:Current1-Mon | Corrente 9 | 5A | 5
1 | 3 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM05:Current2-Mon | Corrente 10
1 | 3 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM06:Current1-Mon | Corrente 11 | 6A | 6
1 | 3 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM06:Current2-Mon | Corrente 12
1 | 3 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM07:Current1-Mon | Corrente 13 | 7A | 7
1 | 3 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM07:Current2-Mon | Corrente 14
1 | 3 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03AM08:Current1-Mon | Corrente 15 | 8A | 8
1 | 3 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H03AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03AM08:Current2-Mon | Corrente 16
1 | 3 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM01:Current1-Mon | Corrente 17 | 1B | 9
1 | 3 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM01:Current2-Mon | Corrente 18
1 | 3 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM02:Current1-Mon | Corrente 19 | 2B | 10
1 | 3 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM02:Current2-Mon | Corrente 20
1 | 3 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM03:Current1-Mon | Corrente 21 | 3B | 11
1 | 3 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM03:Current2-Mon | Corrente 22
1 | 3 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM04:Current1-Mon | Corrente 23 | 4B | 12
1 | 3 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM04:Current2-Mon | Corrente 24
1 | 3 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM05:Current1-Mon | Corrente 25 | 5B | 13
1 | 3 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM05:Current2-Mon | Corrente 26
1 | 3 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM06:Current1-Mon | Corrente 27 | 6B | 14
1 | 3 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM06:Current2-Mon | Corrente 28
1 | 3 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM07:Current1-Mon | Corrente 29 | 7B | 15
1 | 3 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM07:Current2-Mon | Corrente 30
1 | 3 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03BM08:Current1-Mon | Corrente 31 | 8B | 16
1 | 3 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H03BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03BM08:Current2-Mon | Corrente 32
1 | 3 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H03PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H03PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 3 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H03PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H03PreAmp:Current2-Mon | Corrente 34
1 | 3 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H03 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H03:PwrFwdTop-Mon | Potência | Revl
1 | 3 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H03 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H03:PwrRevTop-Mon | Potência | Inc
1 | 3 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H03 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H03:PwrFwdBot-Mon | Potência | Revl
1 | 3 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H03 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H03:PwrRevBot-Mon | Potência | Inc
1 | 4 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM01:Current1-Mon | Corrente 1 | 1A
1 | 4 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM01:Current2-Mon | Corrente 2
1 | 4 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM02:Current1-Mon | Corrente 3 | 2A
1 | 4 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM02:Current2-Mon | Corrente 4
1 | 4 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM03:Current1-Mon | Corrente 5 | 3A
1 | 4 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM03:Current2-Mon | Corrente 6
1 | 4 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM04:Current1-Mon | Corrente 7 | 4A
1 | 4 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM04:Current2-Mon | Corrente 8
1 | 4 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM05:Current1-Mon | Corrente 9 | 5A
1 | 4 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM05:Current2-Mon | Corrente 10
1 | 4 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM06:Current1-Mon | Corrente 11 | 6A
1 | 4 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM06:Current2-Mon | Corrente 12
1 | 4 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM07:Current1-Mon | Corrente 13 | 7A
1 | 4 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM07:Current2-Mon | Corrente 14
1 | 4 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04AM08:Current1-Mon | Corrente 15 | 8A
1 | 4 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H04AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04AM08:Current2-Mon | Corrente 16
1 | 4 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM01:Current1-Mon | Corrente 17 | 1B
1 | 4 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM01:Current2-Mon | Corrente 18
1 | 4 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM02:Current1-Mon | Corrente 19 | 2B
1 | 4 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM02:Current2-Mon | Corrente 20
1 | 4 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM03:Current1-Mon | Corrente 21 | 3B
1 | 4 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM03:Current2-Mon | Corrente 22
1 | 4 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM04:Current1-Mon | Corrente 23 | 4B
1 | 4 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM04:Current2-Mon | Corrente 24
1 | 4 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM05:Current1-Mon | Corrente 25 | 5B
1 | 4 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM05:Current2-Mon | Corrente 26
1 | 4 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM06:Current1-Mon | Corrente 27 | 6B
1 | 4 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM06:Current2-Mon | Corrente 28
1 | 4 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM07:Current1-Mon | Corrente 29 | 7B
1 | 4 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM07:Current2-Mon | Corrente 30
1 | 4 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04BM08:Current1-Mon | Corrente 31 | 8B
1 | 4 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H04BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04BM08:Current2-Mon | Corrente 32
1 | 4 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H04PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H04PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 4 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H04PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H04PreAmp:Current2-Mon | Corrente 34
1 | 4 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H04 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H04:PwrFwdTop-Mon | Potência | Revl
1 | 4 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H04 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H04:PwrRevTop-Mon | Potência | Inc
1 | 4 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H04 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H04:PwrFwdBot-Mon | Potência | Revl
1 | 4 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H04 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H04:PwrRevBot-Mon | Potência | Inc
1 | 9 | 05 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdIn2-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdIn2-Mon | Potência Geral | Inc in
1 | 9 | 06 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevIn2-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevIn2-Mon | Potência Geral | Revl in
1 | 9 | 07 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdOut2-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdOut2-Mon | Potência Geral | Inc out
1 | 9 | 08 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevOut2-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevOut2-Mon | Potência Geral | Revl out

## Rack3
Tower | HeatSink | Reading | Valor | SEC | SUB | DIS | DEV | IDX | PROP | Device Name | Indicative | Module
1 | 0 | 03 | 000X | RA | ToSIA01 | RF | SSAmpTower | - | PwrDCR3-Mon | RA-ToSIA01:RF-SSAmpTower:PwrDCR3-Mon | Status Conversor AC-DC | -
1 | 5 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM01:Current1-Mon | Corrente 1 | 1A | 1
1 | 5 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM01:Current2-Mon | Corrente 2
1 | 5 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM02:Current1-Mon | Corrente 3 | 2A | 2
1 | 5 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM02:Current2-Mon | Corrente 4
1 | 5 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM03:Current1-Mon | Corrente 5 | 3A | 3
1 | 5 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM03:Current2-Mon | Corrente 6
1 | 5 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM04:Current1-Mon | Corrente 7 | 4A | 4
1 | 5 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM04:Current2-Mon | Corrente 8
1 | 5 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM05:Current1-Mon | Corrente 9 | 5A | 5
1 | 5 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM05:Current2-Mon | Corrente 10
1 | 5 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM06:Current1-Mon | Corrente 11 | 6A | 6
1 | 5 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM06:Current2-Mon | Corrente 12
1 | 5 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM07:Current1-Mon | Corrente 13 | 7A | 7
1 | 5 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM07:Current2-Mon | Corrente 14
1 | 5 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05AM08:Current1-Mon | Corrente 15 | 8A | 8
1 | 5 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H05AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05AM08:Current2-Mon | Corrente 16
1 | 5 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM01:Current1-Mon | Corrente 17 | 1B | 9
1 | 5 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM01:Current2-Mon | Corrente 18
1 | 5 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM02:Current1-Mon | Corrente 19 | 2B | 10
1 | 5 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM02:Current2-Mon | Corrente 20
1 | 5 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM03:Current1-Mon | Corrente 21 | 3B | 11
1 | 5 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM03:Current2-Mon | Corrente 22
1 | 5 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM04:Current1-Mon | Corrente 23 | 4B | 12
1 | 5 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM04:Current2-Mon | Corrente 24
1 | 5 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM05:Current1-Mon | Corrente 25 | 5B | 13
1 | 5 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM05:Current2-Mon | Corrente 26
1 | 5 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM06:Current1-Mon | Corrente 27 | 6B | 14
1 | 5 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM06:Current2-Mon | Corrente 28
1 | 5 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM07:Current1-Mon | Corrente 29 | 7B | 15
1 | 5 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM07:Current2-Mon | Corrente 30
1 | 5 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05BM08:Current1-Mon | Corrente 31 | 8B | 16
1 | 5 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H05BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05BM08:Current2-Mon | Corrente 32
1 | 5 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H05PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H05PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 5 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H05PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H05PreAmp:Current2-Mon | Corrente 34
1 | 5 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H05 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H05:PwrFwdTop-Mon | Potência | Revl
1 | 5 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H05 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H05:PwrRevTop-Mon | Potência | Inc
1 | 5 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H05 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H05:PwrFwdBot-Mon | Potência | Revl
1 | 5 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H05 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H05:PwrRevBot-Mon | Potência | Inc
1 | 6 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM01:Current1-Mon | Corrente 1 | 1A
1 | 6 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM01:Current2-Mon | Corrente 2
1 | 6 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM02:Current1-Mon | Corrente 3 | 2A
1 | 6 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM02:Current2-Mon | Corrente 4
1 | 6 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM03:Current1-Mon | Corrente 5 | 3A
1 | 6 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM03:Current2-Mon | Corrente 6
1 | 6 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM04:Current1-Mon | Corrente 7 | 4A
1 | 6 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM04:Current2-Mon | Corrente 8
1 | 6 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM05:Current1-Mon | Corrente 9 | 5A
1 | 6 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM05:Current2-Mon | Corrente 10
1 | 6 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM06:Current1-Mon | Corrente 11 | 6A
1 | 6 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM06:Current2-Mon | Corrente 12
1 | 6 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM07:Current1-Mon | Corrente 13 | 7A
1 | 6 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM07:Current2-Mon | Corrente 14
1 | 6 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06AM08:Current1-Mon | Corrente 15 | 8A
1 | 6 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H06AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06AM08:Current2-Mon | Corrente 16
1 | 6 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM01:Current1-Mon | Corrente 17 | 1B
1 | 6 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM01:Current2-Mon | Corrente 18
1 | 6 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM02:Current1-Mon | Corrente 19 | 2B
1 | 6 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM02:Current2-Mon | Corrente 20
1 | 6 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM03:Current1-Mon | Corrente 21 | 3B
1 | 6 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM03:Current2-Mon | Corrente 22
1 | 6 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM04:Current1-Mon | Corrente 23 | 4B
1 | 6 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM04:Current2-Mon | Corrente 24
1 | 6 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM05:Current1-Mon | Corrente 25 | 5B
1 | 6 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM05:Current2-Mon | Corrente 26
1 | 6 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM06:Current1-Mon | Corrente 27 | 6B
1 | 6 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM06:Current2-Mon | Corrente 28
1 | 6 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM07:Current1-Mon | Corrente 29 | 7B
1 | 6 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM07:Current2-Mon | Corrente 30
1 | 6 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06BM08:Current1-Mon | Corrente 31 | 8B
1 | 6 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H06BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06BM08:Current2-Mon | Corrente 32
1 | 6 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H06PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H06PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 6 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H06PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H06PreAmp:Current2-Mon | Corrente 34
1 | 6 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H06 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H06:PwrFwdTop-Mon | Potência | Revl
1 | 6 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H06 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H06:PwrRevTop-Mon | Potência | Inc
1 | 6 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H06 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H06:PwrFwdBot-Mon | Potência | Revl
1 | 6 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H06 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H06:PwrRevBot-Mon | Potência | Inc
1 | 9 | 09 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdIn3-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdIn3-Mon | Potência Geral | Inc in
1 | 9 | 10 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevIn3-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevIn3-Mon | Potência Geral | Revl in
1 | 9 | 11 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdOut3-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdOut3-Mon | Potência Geral | Inc out
1 | 9 | 12 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevOut3-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevOut3-Mon | Potência Geral | Revl out

## Rack4
Tower | HeatSink | Reading | Valor | SEC | SUB | DIS | DEV | IDX | PROP | Device Name | Indicative | Module
1 | 0 | 04 | 000X | RA | ToSIA01 | RF | SSAmpTower | - | PwrDCR4-Mon | RA-ToSIA01:RF-SSAmpTower:PwrDCR4-Mon | Status Conversor AC-DC | -
1 | 7 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM01:Current1-Mon | Corrente 1 | 1A | 1
1 | 7 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM01:Current2-Mon | Corrente 2
1 | 7 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM02:Current1-Mon | Corrente 3 | 2A | 2
1 | 7 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM02:Current2-Mon | Corrente 4
1 | 7 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM03:Current1-Mon | Corrente 5 | 3A | 3
1 | 7 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM03:Current2-Mon | Corrente 6
1 | 7 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM04:Current1-Mon | Corrente 7 | 4A | 4
1 | 7 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM04:Current2-Mon | Corrente 8
1 | 7 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM05:Current1-Mon | Corrente 9 | 5A | 5
1 | 7 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM05:Current2-Mon | Corrente 10
1 | 7 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM06:Current1-Mon | Corrente 11 | 6A | 6
1 | 7 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM06:Current2-Mon | Corrente 12
1 | 7 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM07:Current1-Mon | Corrente 13 | 7A | 7
1 | 7 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM07:Current2-Mon | Corrente 14
1 | 7 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07AM08:Current1-Mon | Corrente 15 | 8A | 8
1 | 7 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H07AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07AM08:Current2-Mon | Corrente 16
1 | 7 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM01:Current1-Mon | Corrente 17 | 1B | 9
1 | 7 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM01:Current2-Mon | Corrente 18
1 | 7 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM02:Current1-Mon | Corrente 19 | 2B | 10
1 | 7 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM02:Current2-Mon | Corrente 20
1 | 7 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM03:Current1-Mon | Corrente 21 | 3B | 11
1 | 7 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM03:Current2-Mon | Corrente 22
1 | 7 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM04:Current1-Mon | Corrente 23 | 4B | 12
1 | 7 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM04:Current2-Mon | Corrente 24
1 | 7 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM05:Current1-Mon | Corrente 25 | 5B | 13
1 | 7 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM05:Current2-Mon | Corrente 26
1 | 7 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM06:Current1-Mon | Corrente 27 | 6B | 14
1 | 7 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM06:Current2-Mon | Corrente 28
1 | 7 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM07:Current1-Mon | Corrente 29 | 7B | 15
1 | 7 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM07:Current2-Mon | Corrente 30
1 | 7 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07BM08:Current1-Mon | Corrente 31 | 8B | 16
1 | 7 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H07BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07BM08:Current2-Mon | Corrente 32
1 | 7 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H07PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H07PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 7 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H07PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H07PreAmp:Current2-Mon | Corrente 34
1 | 7 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H07 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H07:PwrFwdTop-Mon | Potência | Revl
1 | 7 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H07 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H07:PwrRevTop-Mon | Potência | Inc
1 | 7 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H07 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H07:PwrFwdBot-Mon | Potência | Revl
1 | 7 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H07 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H07:PwrRevBot-Mon | Potência | Inc
1 | 8 | 01 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM01:Current1-Mon | Corrente 1 | 1A
1 | 8 | 02 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM01:Current2-Mon | Corrente 2
1 | 8 | 03 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM02:Current1-Mon | Corrente 3 | 2A
1 | 8 | 04 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM02:Current2-Mon | Corrente 4
1 | 8 | 05 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM03:Current1-Mon | Corrente 5 | 3A
1 | 8 | 06 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM03:Current2-Mon | Corrente 6
1 | 8 | 07 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM04:Current1-Mon | Corrente 7 | 4A
1 | 8 | 08 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM04:Current2-Mon | Corrente 8
1 | 8 | 09 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM05:Current1-Mon | Corrente 9 | 5A
1 | 8 | 10 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM05:Current2-Mon | Corrente 10
1 | 8 | 11 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM06:Current1-Mon | Corrente 11 | 6A
1 | 8 | 12 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM06:Current2-Mon | Corrente 12
1 | 8 | 13 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM07:Current1-Mon | Corrente 13 | 7A
1 | 8 | 14 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM07:Current2-Mon | Corrente 14
1 | 8 | 15 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08AM08:Current1-Mon | Corrente 15 | 8A
1 | 8 | 16 | XXXX | RA | ToSIA01 | RF | SSAmp | H08AM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08AM08:Current2-Mon | Corrente 16
1 | 8 | 17 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM01 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM01:Current1-Mon | Corrente 17 | 1B
1 | 8 | 18 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM01 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM01:Current2-Mon | Corrente 18
1 | 8 | 19 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM02 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM02:Current1-Mon | Corrente 19 | 2B
1 | 8 | 20 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM02 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM02:Current2-Mon | Corrente 20
1 | 8 | 21 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM03 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM03:Current1-Mon | Corrente 21 | 3B
1 | 8 | 22 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM03 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM03:Current2-Mon | Corrente 22
1 | 8 | 23 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM04 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM04:Current1-Mon | Corrente 23 | 4B
1 | 8 | 24 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM04 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM04:Current2-Mon | Corrente 24
1 | 8 | 25 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM05 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM05:Current1-Mon | Corrente 25 | 5B
1 | 8 | 26 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM05 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM05:Current2-Mon | Corrente 26
1 | 8 | 27 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM06 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM06:Current1-Mon | Corrente 27 | 6B
1 | 8 | 28 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM06 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM06:Current2-Mon | Corrente 28
1 | 8 | 29 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM07 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM07:Current1-Mon | Corrente 29 | 7B
1 | 8 | 30 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM07 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM07:Current2-Mon | Corrente 30
1 | 8 | 31 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM08 | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08BM08:Current1-Mon | Corrente 31 | 8B
1 | 8 | 32 | XXXX | RA | ToSIA01 | RF | SSAmp | H08BM08 | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08BM08:Current2-Mon | Corrente 32
1 | 8 | 33 | XXXX | RA | ToSIA01 | RF | SSAmp | H08PreAmp | Current1-Mon | RA-ToSIA01:RF-SSAmp-H08PreAmp:Current1-Mon | Corrente 33 | Pré
1 | 8 | 34 | XXXX | RA | ToSIA01 | RF | SSAmp | H08PreAmp | Current2-Mon | RA-ToSIA01:RF-SSAmp-H08PreAmp:Current2-Mon | Corrente 34
1 | 8 | 35 | XXXX | RA | ToSIA01 | RF | HeatSink | H08 | PwrFwdTop-Mon | RA-ToSIA01:RF-HeatSink-H08:PwrFwdTop-Mon | Potência | Revl
1 | 8 | 36 | XXXX | RA | ToSIA01 | RF | HeatSink | H08 | PwrRevTop-Mon | RA-ToSIA01:RF-HeatSink-H08:PwrRevTop-Mon | Potência | Inc
1 | 8 | 37 | XXXX | RA | ToSIA01 | RF | HeatSink | H08 | PwrFwdBot-Mon | RA-ToSIA01:RF-HeatSink-H08:PwrFwdBot-Mon | Potência | Revl
1 | 8 | 38 | XXXX | RA | ToSIA01 | RF | HeatSink | H08 | PwrRevBot-Mon | RA-ToSIA01:RF-HeatSink-H08:PwrRevBot-Mon | Potência | Inc
1 | 9 | 13 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdIn4-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdIn4-Mon | Potência Geral | Inc in
1 | 9 | 14 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevIn4-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevIn4-Mon | Potência Geral | Revl in
1 | 9 | 15 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrFwdOut4-Mon | RA-ToSIA01:RF-SSAmpTower:PwrFwdOut4-Mon | Potência Geral | Inc out
1 | 9 | 16 | XXXX | RA | ToSIA01 | RF | SSAmpTower | - | PwrRevOut4-Mon | RA-ToSIA01:RF-SSAmpTower:PwrRevOut4-Mon | Potência Geral | Revl out